Saudi Flight Data Analysis

Notes on March 26, 2009 – 1st Flight

Mike Poellot

This flight sampled 7 convective areas, with each sampled more than once with the exception of the first and third areas (labeled A and C below). There was not a regular step up or down pattern during this mission.

Instrument problem: The 2DC probe had an image bit that triggered intermittently throughout the flight. Thus, it is not possible at this time (July 14, 2009) to obtain a quantitative estimate of 2DC concentrations or sizes. While it does appear possible to remove images with this problem, it is likely that a fix would also remove some valid images.

Area	Altitude	Time interval		Time max 	Notes

(Group)  (m)					FSSP Conc.

A	3920		24800-25100		24855		not much ice

B, C	7000-6800	25800-26100		25842, 26037	max FSSP 125/cc

D	6800-6400	26100-26900		26152, 26797

E	6400		27100-27350		27180

F	6000-5500	27500-28500		27554, 27747, 27965,

28198, 28368	little ice, relatively steady state

G	5475-5235	29700-30200		29851, 30075

Area F was sampled 5 times in about 15 minutes.