GCPEx Instrument Care Checklist

# After every flight

## Clean Optical Probes windows or mirrors

### 2DC

### CIP

### CDP

### HVPS-3

## Blow out Gust Probe Pitot lines

## Purge HVPS-3 can with Nitrogen

## Fill CPC with Butanol