ORACLES  – 2015

NASA P3 (N426NA) Instrumentation Configuration and Status

2016/05/04 	Written by David Delene

2016/05/04	Reviewed by: Joe O'Brien

# Instrumentation Summary

| Acronym | Full Name | Manufacturer | Model # | Serial # | Status |
| --- | --- | --- | --- | --- | --- |
| CDP | Cloud Droplet Probe | Droplet Measurement Tech. | N/A | 0901-48 | Operational |
| 2D-S | 2D (Stereo) Optical Array Probe | SPEC, Incorporated | 2DS | 12 | Operational |
| M300 | Data Acquisition System | Science Engineering Associates | M300 | 3038 | Operational |
| HVPS-3 | High-Volume Precipitation Spectrometer Version 3 | SPEC, Incorporated | HVPS3 | 04 | Operational |
| PCASP | Passive Cavity Spectrometer Probe | Droplet Measurement Tech. | PCASP-100X SPP100 | 30013-1191-11 | Operational |
| King LWC | CSIRO-KING Liquid Water Content Probe | PMS, Incorporated | KLWC-5 | SN-PMI-1058-0704-86 | Operational |
| KVM Switch | Keyboard-Video-Mouse Switch | Austin-Hughes Europe | N/A | N/A | Operational |
| A/D Converter | 32 Channel 16 Bit Analog to Digital Converter | SEA, Incorporated | N/A | Board 2: 1055 | Operational |
| Serial Board | BTG-001 | BTG |  | 4379 | Operational |

# Analog to Digital Board

| Ch | Tag | Description | Serial # | Range | Cal-Slope | Cal-Offset | Units | Calibration Note | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 100 | Spare 1 | N/A | 10 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 1 | 101 | Spare 2 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 2 | 102 | Spare 3 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 3 | 103 | Spare 4 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 4 | 104 | Spare 5 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 5 | 105 | Spare 6 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 6 | 106 | Spare 7 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 7 | 107 | Spare 8 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 8 | 108 | Spare 9 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 9 | 109 | Spare 10 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 10 | 110 | King Slave | N/A | 10 volts | 1.0 | 0.0 | volts | From M300 hot_wire_monitor | Installed |
| 11 | 111 | King Signal | N/A | 10 volts | 10.0 | 0.0 | volts | From M300 hot_wire_signal | Installed |
| 12 | 112 | Spare 11 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 13 | 113 | Spare 12 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 14 | 114 | Spare 13 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 15 | 115 | Spare 14 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 16 | 116 | Spare 15 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 17 | 117 | Spare 16 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 18 | 118 | Spare 17 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 19 | 119 | Spare 18 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 20 | 120 | Spare 19 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 21 | 121 | Spare 20 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 22 | 122 | Spare 21 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 23 | 123 | Spare 22 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 24 | 124 | Spare 23 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 25 | 125 | Spare 24 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 26 | 126 | Spare 25 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 27 | 127 | Spare 26 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 28 | 128 | Spare 27 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 29 | 129 | Spare 28 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 30 | 130 | Spare 29 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |
| 31 | 131 | Spare 30 | N/A | 5 volts | 1.0 | 0.0 | volts |  | Not-Installed |

# Serial Board (RS232 and RS422)

| Interface | Tag | Instrument Description | Baud Rate | Status |
| --- | --- | --- | --- | --- |
| /dev/ser18 | N/A | M300 Key | N/A | Installed |
| /dev/ser19 | 22000 | PCASP - SPP200 | 38400 | Installed |
| /dev/ser20 | N/A | TAS Data Output Stream to 2DS | 9600 | Installed |
| /dev/ser21 | N/A | TAS Data Output Stream to HVPS3 | 9600 | Installed |
| /dev/ser22 | N/A | NASA Data In | 96000 | Installed |
| /dev/ser23 | N/A | Spare RS232 |  |  |
| /dev/ser24 | 6200 | Cloud Droplet Probe (422) | 230,400 | Installed |
| /dev/ser25 | N/A | Spare RS422 |  | Not Installed |

# Data System Cards

| Interface | Tag | Instrument Description | Baud Rate | Status |
| --- | --- | --- | --- | --- |
| 0x7300 |  | CAPS Card |  |  |

Tag Numbers conform to standard values, see http://adpaa.sourceforge.net/wiki/index.php/.:M300Tags:home

# Keyboard, Video and Mouse (KVM) Switch

| Number | Instrument Description | Status |
| --- | --- | --- |
| 1 | M300 Data Acquisition System (Main output) | Installed |
| 2 | HVPS3 | Installed |
| 3 | 2DS | Installed |
| 4 | Spare | Not Installed |
| 5 | Spare | Not Installed |
| 6 | Spare | Not-Installed |
| 7 | Spare | Not Installed |
| 8 | Spare | Not-Installed |